Borden County Water System

Retail Service Agreement

- Purpose

The Borden County Water System is responsible for protecting the drinking water supply from contamination or pollution which could result from improper plumbing practices. The purpose of this Service Agreement is to notify each customer of the plumbing restrictions which are in place to provide this protection. The utility enforces these restrictions to ensure public health and welfare. Each customer must sign this agreement before the Borden County Water System will begin service. In addition, when service to an existing connection has been suspended or terminated, the water system will not re-establish service unless it has signed copy of this agreement.

2.	Plumbing Restrictions

The following plumbing practices are deemed unacceptable and are prohibited by State regulations:

A.	No direct connection between the public drinking water supply and a potential source of contamination is permitted. Potential sources of contamination shall be isolated from the public water system by an air gap or an appropriate backflow prevention device.

B.	No cross-connection between the public drinking water supply and a private water system is permitted. These potential threats to the public drinking water supply shall be eliminated at the service connection by the installation of an air gap or a reduced pressure zone backflow prevention device.

C.	No connection which allows water to be returned to the public drinking water supply is permitted.

D.	No pipe or pipe fitting which contains more than 8.0% lead may be used for the installation or repair of plumbing at any connection which provides water for human use.

E.	No solder or flux which contains more than 0.2% lead can be used for the installation or repair of plumbing at any connection which provides water for human use.

3.	Service Agreement

The following are the terms of the Service Agreement between the Borden County Water System

(the Water System) and ______________ (the Customer).

A.	The Water System will maintain a copy of this agreement as long as the Customer and/or the premises are connected to the Water System.

B.	The Customer shall allow his property to be inspected for possible cross-connections and other unacceptable plumbing practices. These inspections shall be conducted by the Water System or its designated agent prior to initiating new water service; when there is reason to believe that a cross-connections exists, a connection to an unknown water source exists, other unacceptable plumbing practices exist; or after any major changes to the private plumbing facilities The inspections shall be conducted during the Water System’s normal business hours.

C.	The Water System shall notify the Customer in writing of any cross-connections or other unacceptable plumbing practices which has been identified during the initial inspection or the periodic inspection.

D.	The Customer shall immediately correct any unacceptable plumbing practice on his/her premises.

E.	The Customer shall, at his/her expense, properly install, test, and maintain any backflow prevention device required by the Water System. Copies of all testing and maintenance records shall be provided to the Water System.

4.	Enforcement

If the Customer fails to comply with the terms of this Service Agreement, The Water System shall, at its option, terminate service or properly install, test, and maintain an appropriate backflow prevention device at the water service connection. Any expenses associated with the enforcement of this agreement shall be billed to the Customer.

Customer Signature

I have read, understand, and agree to all of the provisions of the Borden County Water System Service Agreement. I agree to abide by the Service Agreement, the Borden County Water System Regulations and all other applicable laws and rules.

| Customer Signature |  |  | Customer Name (printed) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Physical Address (service location) |  |  | Customer Phone Number |  |  |  |  |
| Mailing Address | City |  | State |  | Zip Code |  |  |
| Owner Name |  |  | Owner Phone Number |  |  |  |  |
| Mailing Address | City |  | State | Zip Code |  |  |  |
| Date Submitted |  |  |

| For office use only. | Date Received: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Received by (initials): |  |  |  |  | Tapping Rate: |  |
| Date entered into billing system: |  |  |  |  | Pavement Cut: |  |
| Entered by (initials) |  |  |  |  | Connect Fee: |  |
| Agreement Type: |  |  |  |  | Reconnect Fee: |  |
| Account Number: |  |  |  | Refundable Account Deposit: |  |  |